CATALOG IDENTIFICATION_______________________  DATE OF CATALOG___________________

Note:  Please reference your completed CRP Form to determine which selections are appropriate.

I.   SEAL USAGE IN CATALOGS

1. Pick the correct AMCA Seal: [check all that apply]

Circulating Fan Performance

2. Placement of AMCA Seal: [check all that apply]

If the catalog contains all licensed products, the seal and qualifying statement shall be prominently displayed either on the cover or in the catalog.

If the catalog contains both licensed and unlicensed products, the AMCA Seal and qualifying statement shall not be shown on the outside cover.

II.   QUALIFYING STATEMENT ADJACENT TO THE SEAL

In catalogs containing ratings of licensed products, the following statement shall be printed prominently and immediately adjacent to the reproduction of the AMCA Certified Ratings Seal:

"(Licensee's name as shown on License Agreement) certifies that the (product description) shown herein is (or are) licensed to bear the AMCA Seal.  The ratings shown are based on tests and procedures performed in accordance with AMCA Publication 211 and comply with the requirements of the AMCA Certified Ratings Program."

III.  CATALOG IDENTIFICATION REQUIREMENTS

Catalogs containing performance ratings of licensed products shall have a catalog identification reference (e.g. Catalog No. XXX Rev. 1), and unabbreviated current catalog date, (e.g. November 2004) on the outside front or back cover.

Where ratings are on separate sheets or on loose leaf that may be removed from the cover, each sheet or loose leaf shall be identified and dated as above.

IV.  REQUIREMENTS FOR AIR PERFORMANCE

Rating Method "K" (Direct Drive, Circulator Fan, As Run Speed)

The performance ratings for each model number shall include:

Airflow rate (m3/s, cfm);

Nominal impeller speed (rpm)  and/or   Efficacy (m3/s/W, cfm/W);

Motor nameplate input power, phase, voltage, voltage and frequency;

Direction of operation.

Required Statements:

The AMCA Certified Ratings Seal applies at free delivery only.

Speed (rpm) shown is nominal.  Performance is based on actual speed of test.

Performance ratings include the effect of [list appurtenances here].

Rating Method "N" (large diameter ceiling fans, Direct Drive, Circulator Fan, As Run Speed)

The performance ratings for each model number shall include:

Impeller diameter (in.) greater than 7 feet;

Standby power (W);

Motor nameplate input voltage, number of phases and frequency (V, Φ, Hz);

Integrated efficiency (efficacy) rating (cfm/watt);

In addition, the performance rating shall include following items at each prescribed operating point:

Airflow rate (cfm);

Fan input power (W);

Impeller rotational speed (rpm)  and/or   Efficacy (m3/s/W, cfm/W);

Direction of operation.

Required Statements:

The AMCA Certified Ratings Seal applies at free delivery only.

Performance ratings include the effect of [list appurtenances here].

V.  ADDITIONAL REQUIREMENTS FOR CIRCULATOR FANS

Each fan-appurtenance(s) (accessories) assembly shall have a distinct model number different from one without appurtenance(s) (accessories) or with a different group of appurtenance(s) (accessories).

# Text boxes

CHECKLIST: CIRCULATING FAN CATALOGS