LICENSEE’S NAME:

PRODUCT LINE NAME:

CATALOG IDENTIFICATION         DATE OF CATALOG

Note:  Please reference the completed CRP-8 ES form to determine which selections are appropriate.

0.	Preliminary Verifications

Applicant (Licensee) is an Energy Star Partner

ID #:

Laboratory is Accredited per ISO 17025

Laboratory is Recognized by Environmental Protection Agency

1.	CRP-- 8 ES Form completed

2.  Type of Residential Ventilating Product

Bathroom or Utility Room Ceiling Fan (Ducted Fan, Installation Type B or C)

Inline Fan (Installation Type D)

Utility Room Through-the-Wall Fan (Unducted Fan, Installation Type A)

Kitchen Range Hood

3. Testing completed

A.	Ducted Fans

Aerodynamic Test performed at 0.1 in. wg

Aerodynamic Test performed at 0.25 in. wg

Sound Test performed at 0.1 in. wg

HVI 916 Figure

B.	Inline Fans

Aerodynamic Test performed at 0.2 in. wg

HVI 916 Figure

C.	Kitchen Range Hoods

Aerodynamic Test performed at working speed

Sound Test performed at working speed

All possible configurations tested (e.g., horizontal and vertical)

HVI 916 Figure

D.	Unducted Fans

Aerodynamic Test performed at 0.03 in. wg.

HVI 916 Figure

4.  Minimum performance requirements met

A.	Ducted Fans

Airflow at 0.1 in. wg =       CFM

CFM/Watt at 0.1 in wg =       CFM/W

Airflow at 0.25 in. wg =       CFM

Sound level (sones) at 0.1 in wg =       sones (spherical)

[check appropriate boxes]

For fans 10 -- 89 cfm, minimum efficacy is 2.8 CFM/W.

For fans 10 -- 89 cfm, airflow at 0.25 in. wg is 70% of that at 0.1 in. wg.

For fans 10 -- 89 cfm, sound level (sones) is 2.0.

For fans 90 -- 200 cfm, min. efficacy is 3.5 CFM/W.

For fans 90 -- 200 cfm, airflow at 0.25 in. wg is 70 % of that at 0.1 in. wg.

For fans 90 -- 200 cfm, sound level (sones) is 2.0

For fans 201 -- 500 cfm (max speed), min. efficacy is 4.0 CFM/W.

For fans 201 -- 500 cfm (max speed), airflow at 0.25 in. wg is 70 % of that at 0.1 in. wg.

For fans 201 -- 500 cfm (max speed), sound level (sones) is 3.0

B	Inline Fans

Efficacy at 0.2 in. wg is a minimum of 3.8 CFM/W.

C.	Kitchen Range Hoods

Vertical outlet duct

Horizontal outlet duct

Vertical and Horizontal outlet duct

Working Speed is       rpm

Working speed is the speed that produces 100 cfm,or the lowest speed above 100 CFM that a range hood can produce, when working on the same duct system as the maximum speed test.  Two-speed range hoods are required to produce at least 90 cfm.

Range Hood efficacy is greater than 2.8 CFM/W

Maximum Range Hood Sound Level is 2.0 (spherical) sones

Input power is less than or equal to 75 W.

D.	Unducted Fan (e.g., through the wall utility room fan)

Airflow at 0.03 in. wg =       CFM

CFM/Watt at 0.03 in wg =       CFM/W

Sound level (sones) at 0.03 in wg =       sones (spherical)

For fans between 10 and 89 cfm, minimum efficacy is 2.8 CFM/W

For fans 10 -- 89 cfm, sound level (sones) is 2.0.

For fans greater than 90 cfm up to 200 cfm, min. efficacy is 3.5 CFM/W

For fans 90 -- 200 cfm, sound level (sones) is 2.0

For fans greater than 200 cfm up to 500 cfm (max speed), min. efficacy is 4.0 CFM/W

For fans 201 -- 500 cfm (max speed), sound level (sones) is 3.0

5.   Each model (within product line) tested (i.e., fan laws cannot be used)

6. Luminaires (If product does not contain any lighting  – skip this step)

Either:

Fan shipped with bulb in the vent fan package that has been certified to the ENERGY STAR Program Requirements, Product Specification for Lamps (Light Bulbs) that is in effect at the time of manufacture of the ventilating fan.

Lamps rated for enclosed fixtures or recessed fixtures

Product literature specifies use of ENERGY STAR lamps appropriate for the fixture.

For bathroom and utility ventilating fans, lamp efficacy is 65 lumens/W or greater.

OR

Lighting meets the ENERGY STAR Program requirements, Product Specification for Luminaries – Eligibility Criteria  for non-directional luminaires that is in effect at the time of certification of the fan.

Note:  Ventilating fan lighting shall be exempt from the Product Labeling & Packaging Requirements in the Luminaires specification.  Night lights shall be exempt from the total light output requirement as well.

Select ENERGY STAR Recognized Certification Body:

Select ENERGY STAR Recognized Testing Lab (in concert with Certification Body)

Ship product to test lab

Receive certification of lighting

7.  Additional documentation required

A.  Evidence of one year warranty

B.  Inclusion of Installation Instructions

Instructions are of the picture diagram-type

Instructions include how to properly seal the fan, ducts and penetrations with caulk or other similar material to create an air-tight path from the ventilated space to the building exterior.

Instructions include: recommended duct size and type.

Instructions include how to properly install insulation around the fan and/or ducts, as appropriate to fan design, to minimize building heat loss and gain and reduce the potential for condensation.

Instructions include the following statement:

“The ducting from this fan to the outside of the building has a strong effect on the air flow, noise and energy use of the fan.  Use the shortest, straightest duct routing possible for best performance, and avoid installing the fan with smaller ducts than recommended.  Insulation around the ducts can reduce energy loss and inhibit mold growth.  Fans installed with existing ducts may not achieve their rated air flow.”

For kitchen range hoods:  instruction on installation of metal sound attenuator between the range hood and the fan.

8.  Seal Usage in Catalogs

A.  Pick the correct AMCA Seal

CFM/W Air Performance

CFM/W Air & Sound Performance

B.	Placement of AMCA Seal:  [Check all that apply]

If the catalog contains all licensed products, the seal and qualifying statements shall be prominently displayed either on the cover or in the catalog.

If the catalog contains both licensed and unlicensed products, the AMCA Seal and qualifying statement shall not be shown on the outside cover.

9.  Qualifying Statement Adjacent to the Seal

In catalogs containing ratings of licensed products, the following statement shall be printed prominently and immediately adjacent to the reproduction of the AMCA Certified Ratings Seal:

"(Licensee's name as shown on License Agreement) certifies that the (product description) shown herein is (or are) licensed to bear the AMCA Seal.  The ratings shown are based on tests and procedures performed in accordance with AMCA Publication 211 (and 311 for sound) and comply with the requirements of the AMCA Certified Ratings Program."

10. Catalog Identification

Catalogs containing performance ratings of licensed products should have a unique catalog identification reference (e.g. Catalog No. XXX Rev. 1), and should be dated (e.g. November 2004) on the outside front or back cover.

Where ratings are on separate sheets or on loose leaf that may be removed from the cover, each sheet or loose leaf should be identified and dated as above.

11.  Catalog Requirements

A.  Duct Statement (Installation Type Testing Method)

Installation Type Required Statement [check one]:

A		Performance certified is for installation type A – Free inlet, Free outlet.

B		Performance certified is for installation type B – Free inlet, Ducted outlet.

C		Performance certified is for installation type C – Ducted inlet, Free outlet.

D		Performance certified is for installation type D – Ducted inlet, Ducted outlet.

B.  Rating Method "M" (Residential Fan, As Run Speed, Transmission Losses Included, High or Low Slip Motor)

The performance ratings for each model number shall include:

Airflow rate at either 0.1 in. wg, 0.2 in. wg, 0.25 in. wg, 0.03 in. wg as required above or the airflow rate and static pressure for residential kitchen range hoods at the working speed. (Ratings at other static pressures are optional)

Actual impeller speed at each point of rating or a nominal speed

Airflow rate/motor input power (CFM/W)

Motor nameplate voltage and frequency

Motor manufacturer and model number for all motors listed for use on the fan

Inlet air density (if other than standard air)

Required Statements:

Speed (rpm or rps) shown is nominal.  Performance is based on actual speed of test.

Performance ratings include the effect of [list appurtenances here].

# Text boxes

CHECKLIST:

ENERGY STAR ® for Residential Ventilating Fans (Ver 4.0)