CATALOG IDENTIFICATION_______________________  DATE OF CATALOG___________________

Note:  Please reference your completed CRP Form to determine which selections are appropriate.

I.   SEAL USAGE IN CATALOGS

1. Pick the correct AMCA Seal:

CFM/Watt Air Performance

2. Placement of AMCA Seal: [check all that apply]

If the catalog contains all licensed products, the seal and qualifying statement shall be prominently displayed either on the cover or in the catalog.

If the catalog contains both licensed and unlicensed products, the AMCA Seal and qualifying statement shall not be shown on the outside cover.

II.   QUALIFYING STATEMENT ADJACENT TO THE SEAL

In catalogs containing ratings of licensed products, the following statement shall be printed prominently and immediately adjacent to the reproduction of the AMCA Certified Ratings Seal:

"(Licensee's name as shown on License Agreement) certifies that the (product description) shown herein is (or are) licensed to bear the AMCA Seal.  The ratings shown are based on tests and procedures performed in accordance with AMCA Publication 211 and comply with the requirements of the AMCA Certified Ratings Program."

III.  CATALOG IDENTIFICATION REQUIREMENTS

Catalogs containing performance ratings of licensed products shall have a catalog identification reference (e.g. Catalog No. XXX Rev. 1), and unabbreviated current catalog date, (e.g. November 2004) on the outside front or back cover.

Where ratings are on separate sheets or on loose leaf that may be removed from the cover, each sheet or loose leaf shall be identified and dated as above.

IV.  REQUIREMENTS FOR AIR PERFORMANCE

1.  Duct Statement (Installation Type Testing Method)

Installation Method Required Statement [check one]:

A		Performance certified is for installation type A – Free inlet, Free outlet.

B		Performance certified is for installation type B – Free inlet, Ducted outlet.

C		Performance certified is for installation type C – Ducted inlet, Free outlet.

D		Performance certified is for installation type D – Ducted inlet, Ducted outlet.

A & C	Performance certified is for installation type A & C – Free or ducted inlet, Free outlet.

B & D	Performance certified is for installation type B & D – Free or ducted inlet, Ducted outlet.

2.  Rating Method "I" (Agricultural Fan, As Run Speed, Transmission Losses Included, Low Slip Motor)

The performance ratings for each model number shall include:

Airflow rate at 10 Pa (0.05 in. wg) and 30 Pa (0.125 in. wg) static pressure (Ratings at other static pressures are optional)

Actual impeller speed at each point of rating or a nominal speed

Airflow rate/motor input power (m3/s/watt or cfm/watt)

Motor nameplate voltage and frequency

Motor manufacturer and model number for all motors listed for use on the fan

Inlet air density (if other than standard air)

Required Statements:

Speed (rpm or rps) shown is nominal.  Performance is based on actual speed of test.

Performance ratings include the effect of [list appurtenances here].

V.  ADDITIONAL REQUIREMENTS FOR AGRICULTURAL FANS

Each fan appurtenance(s) (accessories) assembly shall have a distinct model number different from one without appurtenance(s) (accessories) or with a different group of appurtenance(s) (accessories).

# Text boxes

CHECKLIST: AGRICULTURAL FAN CATALOGS