CATALOG IDENTIFICATION_______________________  DATE OF CATALOG___________________

Note:  Please reference your completed CRP Form to determine which selections are appropriate.

I.   SEAL USAGE IN CATALOGS

1. Pick the correct AMCA Seal: [check all that apply]

Air Performance

Sound and Air Performance

Efficiency Air Performance

Efficiency Sound and Air Performance

2. Placement of AMCA Seal: [check all that apply]

If the catalog contains all licensed products, the seal and qualifying statement shall be prominently displayed either on the cover or in the catalog.

If the catalog contains both licensed and unlicensed products, the AMCA Seal and qualifying statement shall not be shown on the outside cover.

II.   QUALIFYING STATEMENT ADJACENT TO THE SEAL

In catalogs containing ratings of licensed products, the following statement shall be printed prominently and immediately adjacent to the reproduction of the AMCA Certified Ratings Seal:

"(Licensee's name as shown on License Agreement) certifies that the (product description) shown herein is (or are) licensed to bear the AMCA Seal.  The ratings shown are based on tests and procedures performed in accordance with AMCA Publication 211 (and AMCA Publication 311 if sound is also certified) and comply with the requirements of the AMCA Certified Ratings Program."

III.  CATALOG IDENTIFICATION REQUIREMENTS

Catalogs containing performance ratings of licensed products shall have a catalog identification reference (e.g. Catalog No. XXX Rev. 1), and unabbreviated current catalog date, (e.g. November 2004) on the outside front or back cover.

Where ratings are on separate sheets or on loose leaf that may be removed from the cover, each sheet or loose leaf shall be identified and dated as above.

IV.  EFFICIENCY

The following statement shall be shown immediately adjacent to the efficiency ratings:

Efficiency ratings are fan static (or fan total) and include (or exclude) bearing and/or Power Transmission Losses.

V.  REQUIREMENTS FOR AIR PERFORMANCE

1.  Rating Method "G" (Air Curtains) – Air Curtains may be either direct or belt driven.  Power transmission losses, if any, are included in the power rating.

The performance ratings for each model number shall include:

Airflow rate

Average outlet velocity

Motor input power, voltage, and frequency

Outlet velocity uniformity

Inlet air density (if other than standard air)

Fan static and/or fan total efficiency (optional)

Required Statements:

The AMCA Certified Ratings Seal applies to airflow rate, average outlet velocity, outlet velocity uniformity, velocity projection and power rating at free delivery only.

Rated data shown are only for base (unheated) units, as shown.

Performance data obtained from the correction factors shown herein are only an approximation and shall not be considered as part of the AMCA Certified Ratings.

VI.  ADDITIONAL REQUIREMENTS FOR AIR CURTAINS

The velocity projection at standard inlet air density for one size of each product line shall be stated in the form of a table.  The distance from the nozzle will be listed with the average core velocity.

# Text boxes

CHECKLIST: AIR CURTAIN CATALOGS